## REV CTRL (hidden)
TEMP,VERIF,ML PREP,2 CH
REV | ECO | DATE | DWN | APVD | CHANGE DESCRIPTION
X1 |  | 2020-07-06 | DGM |  | CREATED
X2 |  | 2020-07-07 | DGM |  | Revised well trueness math to calculate from rows rather than from total dataset. Changed CVs to calculate from all 10 columns rather than 8.
X3 |  | 2020-07-10 | DGM |  | Changed low volume accuracy from 10% to 8%, low volume CV from 6% to 5%, and photometric "CV" to "CV <X%"
X4 | 36183 | 2020-07-10 | DGM | DGM | Added Balance ID, Temp, Humidity, and signature/date fields. Added actual volume to all titles
A | 37136 | 2020-09-24 | DGM | DGM | Beautified template based on Marketing review. Reverted PASS/FAIL criteria to calculate from channel's avg rather than worst single dispense.
B | 41955 | 2023-03-10 | DGM | SES | fixed High volume CV criteria to be 2% not 5%. Added rounding functions to trueness and CV outputs to maintian to standard sigfigs.
C | 43528 | 2024-02-29 | DGM | SES | Re-titled OD Calculation tables to be clearer for Single mode Readers. No change to any caluclations or formats. Fixed typo; Hydrometer now Hydgrometer. Revised accuracy to ± instead of ≤ and absolute %.

## Results
[13 empty] | P/N: | 6604526-01 |  | REV: | D
Microlab Prep 2 Independent Channels Verification | [15 empty] | 2026-04-23 13:58
[19 empty] | 10 uL | 250 uL
[18 empty] | Precision | 0.05 | 0.02
| Front pipetting head S/N | [16 empty] | Trueness | 0.08 | 0.025
| Rear pipetting head S/N | [5 empty] | Solution 1 |  |  | When copying data into spreadsheet, paste Values Only: | [5 empty] | Low volume result |  | Excpected Plate Mass |  |  |  | Excpected Well Mass |  |  | Excpected Probe Mass
| Balance ID |  |  |  |  | Density (g/cm3) | [9 empty] | High volume result |  | Test Volume (uL) | 10 | 250 |  | 10 | 250 |  | 10 | 250
| Hygrometer ID |  |  |  |  | Temperature (15–35°C) | [11 empty] | Test Mass (mg)
| Reader ID |  |  |  |  | Humidity (15–85%RH) | [7 empty] | YELLOW FIELDS REQUIRE INPUT
Low Volume (10 µL) Mass Results
|  | Total | Rear | Front
Dispensed mass (mg)
Accuracy ±8%
RESULTS
|  | Low Volume (10 µL) Photometric Results | [15 empty] | Well Mass | [10 empty] | Well Accuracy
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Avg | SD | CV ≤5% | RESULTS |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| A | [16 empty] | A | [10 empty] | A
| B | [16 empty] | B | [10 empty] | B
C
D
| E | [17 empty] | math check | 0
F
| G | [17 empty] | high limit | 55
| H | [17 empty] | low limit | 0
High Volume (250 µL) Mass Results
|  | Total | Rear | Front
Dispensed Mass (mg) | bar: Low Volume (10 µL) Photometric Results 1 to Low Volume (10 µL) Photometric Results 3
Accuracy ±2.5% | bar: Low Volume (10 µL) Photometric Results 1 to Low Volume (10 µL) Photometric Results 3
RESULTS
|  | Low Volume (10 µL) Photometric Results 1: High Volume (250 µL) Photometric Results |  |  |  |  | Well Mass | [10 empty] | Well Accuracy
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Avg | SD | CV ≤2% | RESULTS |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| A | [16 empty] | A | [10 empty] | A
| B | [16 empty] | B | [10 empty] | B
C
D
| E | [17 empty] | math check | 0
F
| G | [17 empty] | high limit | 55
| H | [17 empty] | low limit | 0
| Signature | High Volume (250 µL) Photometric Results 8: Date

## LV OD Calc
Low Volume (10 µL) Reference OD Results
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Low Volume (10 µL) Measurement OD Results
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Low Volume (10 µL) Adjusted OD Results
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H

## HV OD Calc
High Volume (250 µL) Reference OD Results
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
High Volume (250 µL) Measurement OD Results
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
High Volume (250 µL) Adjusted OD Results
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H